## Slide 1: Task 2 Solar Policies
PPT on Residential Solar Polices of
Maharashtra, Gujrat, Rajasthan, Karnataka, Andhra Pradesh, Uttar Pradesh, Madhya Pradesh

## Slide 2: Maharashtra
Maharashtra is located in the Western region of India and is the third largest state by area in India. The capital of Maharashtra is Mumbai, which is also the Financial Capital of India. With 430.46MW commissioned solar energy, Maharashtra is one of the bigger contributors of solar power in India. Out of this, 44.70MW was commissioned in the Financial year 2016/17. Maharashtra approved its solar energy policy in January 2016, encouraging both public and private entities to go solar. The off-grid policy aims to save minimum 500MW of power in the next five years thanks to solar. In addition to this, the Civic Development authorities were asked to ensure that construction permission is only given to those buildings, government colonies, etc who pledge to install solar at rooftop. As much as 100% subsidy has been offered to government and semi-government offices and 15% to the private offices to setup rooftop solar. Talking about the installed projects, the Sakri Solar Plant is the biggest project in the state with a capacity of 125MW. The famous Shirdi shrine has the largest solar steam system in the world and helps cool 50,000 meals per day. Several housing societies especially in Mumbai including the Andheri housing society have installed rooftop solar systems to help save on the energy bills. Beyond residential commercial buildings are also participating with the World Trade Centre, Mumbai inaugurating a 250kWp rooftop grid connected system in September 2016.

## Slide 3: 1. NET METERING
Capacity
  Size:
    Up to 1 MWp; with variation of 5%.
  Voltage level:
    230 / 240V : upto 8 kWp max.
    400/ 415V (Three phase): Above 8 to 150 kWp max. in Metropolitian Area and 8 to 80 kWp in Other Areas
    11 kV and Above Level : Above 150 to 1000kWp max. in Metropolitian Area and 80 to 1000 kWp in Other Areas
  Conditions:
    100% of your Sanctioned Load1
    Cumulative capacity of all solar systems installed in your area shall not exceed 40% of distribution transformer capacity2 in your area. The solar PV installation beyond 40% of DTC rated capacity may be allowed upon consideration of detailed load study on particular DTC.
    The HT consumers (11 KV and above) may install and connect Rooftop Solar PV systems at their LT bus bar System provided that, in such cases, the Net Meter shall be installed on the HT side of the Transformer

## Slide 4
Ownership options
  Self ownership (CAPEX model)
  Third party ownership (RESCO model)
Billing Mechanism
  Annual (April to March)
  Any unadjusted electricity credits shall be paid as per the rates notified by MERC.
Others
  MSEDCL shall, within 7 working days of the completion of the feasibility study, convey its approval for installing the Roof-top Solar PV System. The approval shall be valid for a period of 6 months from the date of approval, or such extended period as may be agreed to by the MSEDCL.
  MSEDCL shall complete the testing and commissioning of the System within 10 working days from receipt of testing and commissioning request, and shall install the Net Metering equipment and synchronise the Roof-top Solar PV System within 10 working days thereafter.

## Slide 5: 2. SUBSIDY
Subsidy Applicable as per SECI guidelines
3. LOAN AVAILABILITY
Loan for solar as a part of home loan/home improvement loan
Loan upto Rs. 10 lacs available for individuals under Priority sector lending

## Slide 6: Gujrat
Gujarat is located on the Western coast of India and is called the "Jewel of Western India". Purely in terms of the geographical area, it is the 6th largest state in the country. With a proposed target of 8020 MW, Gujarat is set to become the fourth largest state in India when it comes to the installed rooftop solar capacity by 2022. This would put Gujarat, behind states likes Maharashtra, Uttar Pradesh and Tamil Nadu for grid-connected rooftop power. Currently, Gujarat alone accounts for 2.6 GW of commissioned solar power in India with about 570 MW being added in the FY 2018/19. It is one of the fastest-growing states when it comes to solar deployment- both for rooftop as well as large-scale solar projects. Very recently, the airport of Ahmedabad also commissioned a 700kWp rooftop solar plant outlining the push from the state government towards installing solar. There have been successful subsidy lead programs, awareness drives as well as strong policies that have been formulated to ensure the rapid progression of rooftop solar in the state. Gujarat is also a home to Charanka Solar Park that is being constructed on a 2,000 hectare land in Norther Gujarat, encompassing 19 different solar projects. The solar park is expected to host at least 790 MW solar power systems when it is fully completed and commissioned.

## Slide 7: 1. NET METERING
Capacity
  Size:
    Min 1 kWp
    Max 1 kWp
  Voltage level:
    Upto 6 kW, 230V- single phase
    Above 6 kW and upto 100 kW, 415 V-Three phase
    Above 100 kW, 11 kV-Three phase (HT)
  Conditions:
    Cumulative capacity of all solar systems installed in your area shall not exceed 100% of distribution transformer capacity in your area.

## Slide 8
Ownership options
  Self ownership (CAPEX model)
Billing Mechanism
  Annual (April to March)
  Any unadjusted electricity credits shall be paid as per the rates notified by GERC.
Others
  Exempted from Transmission Charge, Transmission Loss, Wheeling Charge, Cross Subsidy Surcharge, Electricity Duty

## Slide 9: 2. SUBSIDY
Subsidy Applicable as per SECI guidelines
3. LOAN AVAILABILITY
Loan for solar as a part of home loan/home improvement loan
Loan upto Rs. 10 lacs available for individuals under Priority sector lending

## Slide 10: Rajasthan
Rajasthan is India's largest state by area and is located in the north-western side of the country. Being a popular tourist destination Rajasthan is home to several famous cities such as Jaipur, Udaipur, Jodhpur, Bikaner etc. Rajasthan is one of the leading states when it comes to commissioned solar power with more than 1318MW of solar power already in use. 47.71MW of this power has been added to the grid in the FY 16/17. Jodhpur has the maximum projects in the state with 42 projects that total up to 293MW of power. The state is home to several solar parks such as the Dhirubhai Ambani Solar Park and the RRECL Solar Park which will be commissioned completely by 2017. In order to push the adaptation of solar, the state government announced its solar energy policy in 2014 to add an additional capacity of 25,000MW in Rajasthan. It is estimated that solar parks of more than 500MW will be developed by joint ventures between the state government and private company. Net metering scheme has been announced too to promote rooftop generation that allows consumers to feedback the extra power back to the green. beyond this the state has taken several steps such as fast-tracking the process of approvals for mega large projects that are above 500MW outlining its commitment towards solar energy.

## Slide 11: 1. NET METERING
Capacity
  Size:
    Min 1 kWp
    Max 1 MWp
  Voltage level:
    240(Single phase) : upto 5 kWp max.
    415V (Three phase): 5- 50 kWp max.
    HT/EHT Level : 50kWp max.
  Conditions:
    <=80% of your Sanctioned Load
    Cumulative capacity of all solar systems installed in your area shall not exceed 30% of Local Distribution transformer capacity in your area.

## Slide 12
Ownership options
  Self ownership (CAPEX model)
  Third party ownership (RESCO model)
Billing Mechanism
  Annual (April to March)
  Net energy credits less than 100 units achieved in the particular billing period will be adjusted in the next billing period until credit of 100 units is achieved.
Others
  Exemption from banking, wheeling & cross subsidy charges

## Slide 13: 2. SUBSIDY
Subsidy Applicable as per SECI guidelines
3. LOAN AVAILABILITY
Loan for solar as a part of home loan/home improvement loan
Loan upto Rs. 10 lacs available for individuals under Priority sector lending

## Slide 14: Karnataka
Karnataka is a state located in the southern-western part of India. The capital city of Karnataka is Bengaluru, which is considered to be the Silicon Valley of India. It is the seventh largest state in the country and one of the high contributors of commissioned solar power. IN fact, according to several reports the state has the largest capacity of almost 3.2GW of the upcoming solar projects in India, leaving states like Andhra Pradesh and Telangana behind. As of January 2017, Karnataka had a total of 341.93MW of commissioned solar power, out of which, 196.46MW came in in the previous financial year 2016/17. Karnataka has a very strong focus towards solar and in 2016 revised its target to achieve 6000MW of grid connected solar power by the year 2021. The state solar energy potentials is more than 24,700MW and therefore it will play a key role if India has to reach the target of 100GW by the year 2022. Further, to encourage rooftop solar the latest policy change mandates that at least 40% of this 6000MW must come from rooftop solar with 200MW being set as the highest solar generation allowed per Taluk to ensure a widespread installation. In order to pursue the target several solar parks, schemes such as the Surya Raitha, awareness drives for the farmer as well as a keen focus towards distributed solar have been started. The Government of Karnataka is committed towards ensuring that at least 20% of the total power in the state is generated by the renewable sources of energy by 2020.

## Slide 15: 1. NET METERING
Capacity
  Size:
    Min 1 kWp
    Max 1 MWp
  Voltage level:
    HT Consumers : upto 1 MWp
    LT Consumers (Single Phase) : upto 5 kWp
    LT Consumers (Three Phase): Above 5 kWp to 50 kWp
  Conditions:
    <= 150% of your Sanctioned Load.

## Slide 16
Ownership options
  Self ownership (CAPEX model)
  Third party ownership (RESCO model)
Billing Mechanism
    Annual settlement
    All electricity injected in the grid shall be paid at applicable tariff rates
Others
  Exempted from wheeling, banking, cross subsidy charges if applicable

## Slide 17: 2. SUBSIDY
Subsidy Applicable as per SECI guidelines
3. LOAN AVAILABILITY
Loan for solar as a part of home loan/home improvement loan
Loan upto Rs. 10 lacs available for individuals under Priority sector lending

## Slide 18: Andhra Pradesh
Andhra Pradesh is one of the oldest states in India and is located in the Southern part of the country. Its ranks in the top ten states when it comes to the size, both by geography and population. The de facto capital city of Andhra Pradesh is Amravati. As of January 2017, a total of 979.65 MW solar power has been commissioned in the state. AP will house solar parks with a capacity of almost 4,000 MW with Rs 2225.5 crore for the same already sanctioned in 2016. These solar parks are expected to be up and ready by the year 2020, potentially making Andhra Pradesh one of the highest solar power producing states in the country. Other than the huge potential of solar, availability of land and rooftops at reasonable prices combined with good infrastructure, make AP an ideal state for solar installation. The solar parks in Andhra Pradesh are being developed as a joint venture between Solar Energy Corporation of India (SECI), Andhra Pradesh Power Generation Corporation and New and Renewable Energy Development Corporation of Andhra Pradesh.

## Slide 19: 1. NET METERING
Capacity
  Size:
    <=1 MWp
  Voltage level:
    Upto 56 kW, LT Level
    Above 56 kW to 1 MW, HT 11/33 kV
  Conditions:
    Cumulative capacity of all solar systems installed in your area shall not exceed 60% of Local Distribution transformer capacity at LT level and 100% at HT level.

## Slide 20
Ownership options
  Self ownership (CAPEX model)
  Third party ownership (RESCO model)
Billing Mechanism
    Half yearly
    Any unadjusted electricity credits shall be paid as per the rates notified by APERC.
Others
  No Distribution losses and charges centres.

## Slide 21: 2. SUBSIDY
Subsidy Applicable as per SECI guidelines
3. LOAN AVAILABILITY
Loan for solar as a part of home loan/home improvement loan
Loan upto Rs. 10 lacs available for individuals under Priority sector lending

## Slide 22: Uttar Pradesh
Uttar Pradesh, or UP as it is fondly called is the state with the highest population in India. It is located in the northern part of the country and has Lucknow as the capital city. Some of the best known cities in India such as Varanasi, Kanpur, Allahabad etc are a part of Uttar Pradesh. Despite a massive demand for power due to its shortage, UP only has 269.26MW of connected solar power. A large majority of this, 125.76MW was commissioned in the Financial Year 2016/17. The state defined its Rooftop Solar Power Plant policy back in the year 2014-15, and a target of generation of 20MW from rooftop solar plants was set till March 2017. It was made a mandate that at least 25 percent area of the chair area of the office buildings in the government and public institutes will be utilised for the installation of rooftop solar power plants. The present solar policy of UP is effective till March 2017, and will soon be up for renewal with new targets being set. The target of achieving 500 MW of grid connected power till March of 2017 looks to have been missed. But with a new government lead by the BJP, a political party that has been giving a lot of push to solar in the last couple of years from the centre, it is expected that Uttar Pradesh will be a large contributor in the march towards the 100GW target by 2022.

## Slide 23: 1. NET METERING
Capacity
  Size:
    Min 1 kWp
    Max 2 MWp
  Voltage level:
    Low Voltage(Single phase) : upto 5 kWp max.
    415V (Three phase): 5- 50 kWp max.
    6.6/11 kV: 50-2000 kW/kVA
    11/33/66 kV Level : 2 MW to 5MW
  Conditions:
    <=100% of your Sanctioned Load
    Cumulative capacity of all solar systems installed in your area shall not exceed 75% of Local Distribution transformer capacity in your area.

## Slide 24
Ownership options
  Self ownership (CAPEX model)
  Third party ownership (RESCO model)
Billing Mechanism
  Annual settlement
  Any net electricity injected in the grid shall be paid at rates decided by UPERC.
  Reconciliation rate for excess power fed in the system at the end of settlement period is increased to Rs. 2 / unit from Rs. 0.5 / unit.
Others
  Exemption from wheeling & cross subsidy surcharge if applicable
  Only for installations greater than 10kW, approval from State Electricity Inspector is required.

## Slide 25: 2. SUBSIDY
Subsidy Applicable as per SECI guidelines
An incentive of a maximum absolute amount of INR 30,000 rupees would be disbursed in subsidy/customer; below which it would be disbursed at the rate of INR 15,000/ kW.
3. LOAN AVAILABILITY
Loan for solar as a part of home loan/home improvement loan
Loan upto Rs. 10 lacs available for individuals under Priority sector lending

## Slide 26: Madhya Pradesh
Madhya Pradesh or MP is located in the Central part of India and that is why is called "Heart of India". Until Chattisgarh was born, MP was the largest state in India but since, has been demoted to the second spot in the list. As expected from the state of its size, Madhya Pradesh has a total of 850.35MW commissioned solar power so far. In the last financial year of 2016/17 73.98MW of solar power was commissioned. The largest solar plant in the state so far is the Welspun Solar MP project that produces 151MW solar power and is located in the Bhagwanpura Village. This plant has been operational since 2014 and is one of the largest solar projects in the country. Other than this, there is a 130MW solar power plant in Bhagwanpur. There is an upcoming 750MW solar power plant in the district of Rewa, which when completed will be the world's largest solar power plant, pushing the Desert Sunlight Project of California to the second spot. MP also announced a dedicated policy for rooftop renewable energy projects in 2016 which reiterates the push for rooftop solar in helping the state achieve its target of 2.2GW by 2022. The target for the year 2017-18 has been set to 275MW. Madhya Pradesh Electricity Regulatory Commission or MPERC has already issued the regulations for Net Metering in 2015. The policy has also exempted energy generated from renewables systems from electricity duty and cess for 10 years from the date of commissioning.

## Slide 27: 1. NET METERING
Capacity
  Size:
    Up to 1000 kWp
  Voltage level:
    230 V (single Phase) : upto 3 kWp max.
    400V (Three phase): Above 3 to 112 kWp max
    11 kV HT : Above 112 to 300 kWp
    33 kV HT: Above 300 kWp
  Conditions:
    Cumulative capacity of all solar systems installed in your area shall not exceed 30% of distribution transformer capacity in your area.

## Slide 28
Ownership options
  Self ownership (CAPEX model)
  Third party ownership (RESCO model)
Billing Mechanism
  Annual settlement (April to March)
  Any unadjusted electricity credits shall be paid as per the rates notified by MPERC.
Others
  Exempted from banking, wheeling, cross-subsidy surcharges & electricity duty, no liability of property tax.

## Slide 29: 2. SUBSIDY
Subsidy Applicable as per SECI guidelines
3. LOAN AVAILABILITY
Loan for solar as a part of home loan/home improvement loan
Loan upto Rs. 10 lacs available for individuals under Priority sector lending